## Slide 1
STAIRS TRANSPARENCY REPORT
Keeping your home safe
Our health & safety compliance performance, explained in plain English
Peaks & Plains Housing Trust · August 2026 Quarterly update

## Slide 2
What we check, and why
We test, service and inspect a number of mechanical and electrical items across our portfolio - but here we’ll focus on what’s known as “the big 6”. Here’s what each covers - in plain English
Water Safety
Assessing water systems for legionella risk and managing that risk so that the water in your property remains safe to use.
Fire Safety
Assessing fire risks and managing that risk. Testing and inspecting fire safety systems such as emergency lighting, fire alarms and ventilation systems
Asbestos
Re-inspecting communal areas that may contain asbestos, to make sure it stays safely managed.
Lifts & Stairlifts
Servicing passenger lifts and stairlifts so they keep working safely.
Gas & Heating
Servicing boilers, heat pumps and heating systems to prevent gas and carbon monoxide risks.
Electrical Safety
Testing the property electrics in your home and shared areas to reduce the risk of fire or shock.
2

## Slide 3
THE BIG 6 HEADLINE
99.96%
of the Big 6 flagship statutory checks were completed and up to date in August 2026
That's 10,691 checks — gas safety, electrical safety (EICR), fire risk assessments, asbestos re-inspections, water/legionella risk assessments and lift safety (LOLER), one flagship check per area. 4 were overdue.
We also carry out many more checks within each of these six areas — see the fuller picture later in this report.
3

## Slide 4
The fuller picture, area by area
Unlike the flagship figure on the previous slide, this includes every check we carry out within each area — not just the one statutory check — based on the share completed on time in August 2026.
Water Safety
Legionella controls and water system checks
97.5%
Fire Safety
Fire doors, alarms, escape routes and emergency lighting
81.5%
Asbestos
Communal area re-inspections
100%
Lifts & Stairlifts
Passenger lifts, stairlifts, hoists and through-floor lifts
94.6%
Gas & Heating
Gas servicing, heat pumps and heating systems
99.7%
Electrical Safety
Home electrics, communal electrics and lighting
99.8%
Across all 13,097 checks in these six areas combined: 98% completed on time, 234 overdue.
4

## Slide 5
We always aim for 100% Compliance, but that’s not always possible
Being open means telling you about the areas that need the most attention right now, not just the ones going well.
Emergency lighting servicing
2 of 123 buildings were overdue for their monthly emergency lighting service in August, down from full compliance in July.
This is because: The In-House Emergency Lighting specialist has been absent for some of last month’s testing – We have engaged an external contractor to ensure we are back on track this month onwards.
Fire door inspections — flat entrance doors
We are required to complete fire door inspections on the flat entrance doors in buildings of over 11m in height. For the Trust this is Range, Pennine and Crossings (Block A) - 106 of 225 flat entrance doors were overdue for inspection in August — improving from around 134 overdue in July.
What we're doing: Flat entrance door inspection rely on us gaining access. We are working hard to communicate this need to residents so we can undertake these essential checks.
5

## Slide 6
What "overdue" does and doesn't mean
It doesn't automatically mean your home is unsafe
An overdue check means a routine service or inspection ran later than its due date. It’s not the same as a known fault or hazard, but it’s still of high importance and the Trust will continue to escalate as required to ensure it is completed as soon as possible.
We prioritise by risk
Any check that flags an actual safety issue is dealt with immediately, separately from this routine schedule, through our P1 / Emergency repair notification process.
We take action where routine checks, flag risks.
The Trust will undertake works identified during safety checks to ensure your property remains safe and compliant throughout your tenancy.
If you're ever concerned about a specific safety issue in your home or building, contact us directly — don't wait for the next update.
6

## Slide 7
Tell us what you think
This is part of our STAIRs commitment to being open about how we're performing. We'd like your view on what else you want to see reported, and how.
See the full data
[link to full compliance dataset / STAIRs page]
Give feedback
[resident panel / survey link]
Report a concern
[phone / email / repairs line]
7